# House Flipping Punch List

Use our comprehensive, step-by-step House Flipping Punch List to close out your Rehab Project strong.

Punch List Table of Contents

Exteriors Punch List	2

Kitchen Punch List	3

Bathroom Punch List	4

Interior Finishes Punch List	5

MEP Systems Punch List	6

# Exteriors Punch List

Roofing Punch List

- Roof has been maintained/repaired

- Roof has been cleaned of debris

- Chimney cap is in-place/good condition

- Gutters/downspouts cleaned

- Gutters/downspouts/splash blocks in-place

Siding Punch List

- Siding is clean of dirt/debris

- Siding joints are caulked

- Siding is painted/no bare spots/chipped paint/touch-up needed

Exterior Doors/Windows Punch List

- Doors open and close freely

- Entry door hardware in-place/securely installed

- Entry doors keyed (keys in lock-box)

- Windows open and close freely

- No broken glass in windows

- Window screens are in-place/in-tact

- Windows have been cleaned

- Caulking around doors/window trim

Landscaping Punch List

- Bushes/shrubs/mulch beds are installed

- Sodding/seeding in-place

- Trees/bushes trimmed back from house

- Fence in-place/good condition

- Mailbox/address #s installed

- Shed in good condition/cleaned of debris

- General site debris and trash is cleaned-up

# Kitchen Punch List

Kitchen Cabinets Punch List

- Cabinet doors open and close freely

- Cabinet knobs are securely installed

- Cabinet shelving is installed

- Trim/molding/end-panels are installed

- Cabinets & countertops caulked

- Cabinets & countertops have been cleaned

- GFI outlets are installed & have been tested

Appliances Punch List

- All appliances have been cleaned

- Refrigerator water supply lines hooked-up

- Dishwasher tested w/ no leaks

- Stove tested (if gas verify no leaks)

- Range hood tested with lights & filters installed

- Plastic/protective films removed from appliances

- Timers set on oven & microwave

# Bathroom Punch List

Master Bathroom Punch List

- Bathroom vanities are securely installed

- Plumbing fixtures are installed with no leaks

- Mirrors/accessories are securely installed

- Bathroom tile sealed/caulked

- Bathroom vanities/counters caulked

- GFI outlets installed & tested

- Exhaust fans installed & tested

- Bathroom fixtures cleaned (tub, shower, toilet, sink)

- Mirror glass cleaned

Bathroom 1 Punch List

- Bathroom vanities are securely installed

- Plumbing fixtures are installed with no leaks

- Mirrors/accessories are securely installed

- Bathroom tile sealed/caulked

- Bathroom vanities/counters caulked

- GFI outlets installed & tested

- Exhaust fans installed & tested

- Bathroom fixtures cleaned (tub, shower, toilet, sink)

- Mirror glass cleaned

Bathroom 2 Punch List

- Bathroom vanities are securely installed

- Plumbing fixtures are installed with no leaks

- Mirrors/accessories are securely installed

- Bathroom tile sealed/caulked

- Bathroom vanities/counters caulked

- GFI outlets installed & tested

- Exhaust fans installed & tested

- Bathroom fixtures cleaned (tub, shower, toilet, sink)

- Mirror glass cleaned

# Interior Finishes Punch List

Flooring Punch List:

- No loose carpet threads/seams

- Transition strips in-place

- No major floor squeaks/imperfections

- Floor protection installed for carpet/hardwood

- Floor vacuumed/mooped

Painting Punch List:

- Interior walls/ceilings painted/touched-up

- Doors & Trims painted/touched-up

- Trim nail holes filled/puttied

- No scuffs/blemishes/raw wood/bare spots

Doors & Trim Punch List:

- Doors open and close freely

- Doors swing correctly

- All door knobs/handles/stops installed

- Handrails installed and securely in-place

Other Interiors Punch List:

- Fireplace tested (gas key available)

- Doorbell tested and working

- Smoke detectors installed & tested

# MEP Systems Punch List

Electrical Punch List

- All electrical breakers are turned-on/operable

- All outlets/switches/cover plates installed and clean

- All outlet tested & working

- All fans & light fixtures securely installed & tested

- Light bulbs installed & working

- All exposed wire junctions are house in junction box

- No exposed wiring/junctions

Plumbing Punch List

- Plumbing fixtures installed and working properly

- No water supply line or drain line leaks

- No faucets leaks

- Hot & cold faucet hand orientated correctly

- Garbage disposal tested & working

- Caulking installed around plumbing fixtures

- Hot water heater discharge pipe/flue installed

HVAC Punch List

- Heating equipment tested and working

- Air conditioning equipment tested and working

- Ductwork cleaned

- Furnace filter replace with new

- Thermostat installed & set to comfortable temperature

- Duct grilles/registers installed and cleaned